Remember that you will be billed for actual water going through your meter.  Any leaks that occur on the house side of the meter are your responsibility and you may need to call a plumber.  Following are some trouble spots that are common sources of leaks.

Trouble Spot Check List

- Water Tank on Commode:

  - Seeping feed valve causing overflow

  - Ball or flap valve not seating

- Dripping Faucets in tub, shower, lavatory, sink, outside hydrant, etc

- Relief valve on Water Heater open or dripping

- Water Heater filling or leaking

- Outside Hydrant open or dripping

- Washer or Dishwasher feed valve open or seeping

- Hose in yard turned on or leaking

- Unknown line in yard or to other outlets

- Leaking Pipes or fittings in house or in line between meter and house

- Water feed to Humidifier

- Swimming Pool, Fish Pond, etc

- Water to Air Conditioning cooling towers running or leaking

- Water Softener equipment

- Any equipment connected to water lines

- Service lines to outbuildings leaking

- Meter pit is full of water